## Sheet1
Fixed Asset Number | Asset Description | Description 2 | Description 3 | Division | Utility | Job | RFP Job No
FA1003190 | New EDS Utility Service for FTW 336A Aircraft | 1EA 45/2 Pole and Assembly Unit | J101394-Distribution/Poles, Towers, and Fixtures | FWA | EDS | J101394 | FWA-09-021
FA1003191 | New EDS Utility Service for FTW 336A Aircraft | UC1X Assembly Unit/cutout and arrester | J101394-Distribution/Overhead Conductors and Devices | FWA | EDS | J101394 | FWA-09-021
FA1003192 | New EDS Utility Service for FTW 336A Aircraft | misc assembly units | J101394-Distribution/Underground Conduit | FWA | EDS | J101394 | FWA-09-021
FA1003193 | New EDS Utility Service for FTW 336A Aircraft | Assembly Units | J101394-Distribution/Underground Conductors and Devices | FWA | EDS | J101394 | FWA-09-021
FA1003194 | New EDS Utility Service for FTW 336A Aircraft | 1es 50 polemount xformer | J101394-Distribution/Line Transformers | FWA | EDS | J101394 | FWA-09-021
FA1003195 | New EDS Utility Service for FTW 336A Aircraft | 1500ea #12 HXXW Conductors | J101394-Distribution/Services | FWA | EDS | J101394 | FWA-09-021
FA1003315 | New WTD Utility Svc for FTW 336A Aircraft Str | Distribution/Transmission and Distribution Mains | J101396 | FWA | WTD | J101396 | FWA-09-021
FA1003316 | New WWC Utility Svc for FTW336A Aircraft Str | 6" DIP 381' | J101397-Collection/Sewer Mains Gravity | FWA | WWC | J101397 | FWA-09-021
FA1003321 | New DHS Utility Svc for FTW 336A Aircraft Str | 1.5" SS Condensate | J101395-Distribution/Direct Buried-Condensate Lines | FWA | DHS | J101395 | FWA-09-021
FA1003322 | New DHS Utility Svc for FTW 336A Aircraft Str | 3" Steam Pipe | J101395-Distribution/ Direct Buried-Steam Lines | FWA | DHS | J101395 | FWA-09-021