## BIDSHEET
|  | 04/02/2010 ASSEMBLY UNITS BID SHEET Project: FORT WAINWRIGHT, FTW336A | [6 empty] | Prepared by:
Dryden & LaRue
|  |  |  | Adjusted |  |  |  |  | Total
Status | Assembly | Description | Bid | Const. | Labor | Total | Material | Total | Labor &
| Unit |  | Quantity | Quantity | (Each) | Labor | (Each) | Material | Material
INSTALL
I | #1/0 CONC 15 | 1/0 CONC 15kV AL, FULL NEUTRAL, 133% INSULATION (FEET) | 180 | 200 | 2.75 | 550 |  | 0 | 550
I | 250 XHHW | 250kcmil XHHW, 600V (FEET) | 120 | 150 | 5.25 | 787.5 |  | 0 | 787.5
I | #2/0 XHHW | #2/0 XHHW, 600V (FEET) | 840 | 1000 | 2.71 | 2710 |  | 0 | 2710
I | #2 QPX UD | #2 SECONDARY QUADRUPLEX AL UNDERGROUND (FEET) | 130 | 150 | 1.01 | 151.5 |  | 0 | 151.5
I | #4 XHHW | #4 XHHW, 600V (FEET) | 210 | 250 | 1 | 250 |  | 0 | 250
I | G1.4-50 | 1PH OVERHEAD CONVENTIONAL TRANSFORMER (50 kVA) | 1 | 1 | 1849.33 | 1849.33 |  | 0 | 1849.33
I | H1.1 | GROUNDING ASSEMBLY - GROUND ROD TYPE | 1 | 1 | 54.81 | 54.81 |  | 0 | 54.81
I | METER | SERVICE METER | 2 | 2 | by others |  |  | 0 | 0
I | RSC490SS | ELBOW, CONDUIT 4" RIGID STEEL SHORT SWEEP 90° (36" radius) | 2 | 2 | 111.65 | 223.3 |  |  | 223.3
I | RSC2590SS | ELBOW, CONDUIT 2.5" RIGID STEEL SHORT SWEEP 90° (18" radius) | 2 | 2 | 45 | 90 |  |  | 90
I | RSC290SS | ELBOW, CONDUIT 2" RIGID STEEL SHORT SWEEP 90° (24" radius) | 2 | 2 | 36.55 | 73.1 |  |  | 73.1
I | SLC | 100A, 240V SITE LIGHTING LOAD CENTER WITH INTEGRAL PHOTOCELL CONTROL | 1 | 1 | 4041.63 | 4041.63 |  | 0 | 4041.63
I | SS-400A | 400A SERVICE STANDARD, BREAKER, CT-CAN, METER SOCKET. | 1 | 1 | 1602.23 | 1602.23 |  |  | 1602.23
I | UC1X | 3PH CABLE TERMINAL POLE DEADEND, WITH CUTOUTS & ARRESTERS | 1 | 1 | 1496.97 | 1496.97 |  | 0 | 1496.97
I | UG17-3-300 w/o trans | 3PH PAD MOUNTED TRANSFORMER LOOP FEED W/ RADIAL (300 kVA) trans ordered | 1 | 1 | 465.63 | 465.63 |  | 0 | 465.63
I | UM5 | SECONDARY CABLE TERMINAL POLE | 1 | 1 | 281.45 | 281.45 |  | 0 | 281.45
I | UM6-6 | GROUND ROD ASSEMBLY | 1 | 1 | 14.69 | 14.69 |  | 0 | 14.69
I | UM50-H-4 | CONDUIT, 4" HDPE - SCHEDULE 40 (FEET) | 60 | 60 | 2.76 | 165.6 |  | 0 | 165.6
I | UM50-H-2 | CONDUIT, 2" HDPE - SCHEDULE 40 (FEET) | 100 | 100 | 0.8 | 80 |  | 0 | 80
I | UM50-H-1 | CONDUIT, 1" HDPE - SCHEDULE 40 (FEET) | 360 | 360 | 0.59 | 212.4 |  | 0 | 212.4
I | UM50-S-4 | CONDUIT, 4" GALVANIZED RIGID STEEL (FEET) | 30 | 30 | 13.77 | 413.1 |  | 0 | 413.1
I | UM50-S-25 | CONDUIT, 2.5" GALVANIZED RIGID STEEL (FEET) | 120 | 120 | 7.7 | 924 |  | 0 | 924
I | UM50-S-2 | CONDUIT, 2" GALVANIZED RIGID STEEL (FEET) | 30 | 30 | 5.32 | 159.6 |  | 0 | 159.6
I | UM6-1 | LOAD BREAK ELBOW (200A) | 3 | 3 | 46.95 | 140.85 |  | 0 | 140.85
I | UR2 | TRENCH, PRIMARY OR SECONDARY (24"W X 48"D) (FEET) | 310 | 310 | by others |  |  | 0 | 0
I | #12 XHHW | #12 CU 600V, XHHW Black | 500 | 500 | 0.25 | 125 |  | 0 | 125
I | #12 XHHW | #12 CU 600V, XHHW White | 500 | 500 | 0.25 | 125 |  | 0 | 125
I | #12 XHHW | #12 CU 600V, XHHW Green | 500 | 500 | 0.25 | 125 |  | 0 | 125
I | 30' Pole | 30' Steel Pole | 4 | 4 | 1445 | 5780 |  | 0 | 5780
I | Pole Base | Pole Base, 6' embedment | 4 | 4 | by others |  |  | 0 | 0
I | 150W HPS | 150 W HPS Luminaire | 4 | 4 | included above |  |  | 0 | 0
[5 empty] | SUBTOTAL (INSTALL) | 16737.69 |  |  | 16737.69
RETIRE
R | G1.4-15 | 1PH OVERHEAD CONVENTIONAL TRANSFORMER (15 kVA) | 1 | 1
SUBTOTAL (RETIRE)
[5 empty] | SUBTOTAL (INSTALL) | 16737.69 |  |  | 16737.69
SUBTOTAL (RETIRE)
[5 empty] | TOTALS | 16737.69 |  | 0 | 16737.69