Statement Of Work

Contract No. SP0600-07-C-8263

EDS Engineering RFP FWA-09-021

FTW336A Aircraft Parts Storage

Ft. Wainwright, Alaska

September 2, 2009

Doyon Utilities LLC will provide design services to install the electrical service to the FTW336A Aircraft Parts Storage building.

The design services will include electrical service to four (4) each 150 watt HPS area lights with control centers and panel, electrical service to the HBO’s to include a transformer and disconnect and a electrical service to the new Aircraft Parts Storage building.  The size and location of the service yet to be determined, but will include a padmount transformer, primary riser, disconnect switch, CT enclosure, CT’s, meter, meterbase, primary and secondary conductor.

It is anticipated that Doyon Utilities will receive the Notice to Proceed by September 21, 2009 and have the design work completed by October 31, 2009.